Manchester Institute of Biotechnology -  Risk Assessment

| Date: 27/05/2015 | Assessed by: Mr. C. Yan | Validated by: Tanya Aspinall | Location: MIB LG.036 | Review date: 27/05/2016 |
| --- | --- | --- | --- | --- |

Task: Preparing of bacterial cell cultures and colony for DESI - mass spectrometry based analyses

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Handling of biological samples | Biological Hazard - Risk of infection | Staff and other workers near by | The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. All biological work must be assessed using the appropriate GM or BioCOSHH assessment. This must be read in conjunction with this risk assessment, and any control measures identified must be followed. | Low | A |
| Loading biological samples on DESI MS. Organic solvents preparation for running DESI including Methanol, Chloroform | Chemical Hazard - methanol and chloroform | Staff and other workers near by | The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. This risk assessment must be read in conjunction with those for the use of pipettes and centrifuges, and any identified control measures must be followed. Methanol or Chloroform sample handling process should be done in fume cupboard. COSHH assessments for methanol and chloroform have been completed. They must be read in conjunction with this risk assessment, and any identified control measures must be followed. | Low | A |
| System optimization | Sharp parts on equipment – risk of cuts | Staff and maintenance engineer | Many areas of the source and probe contain sharp parts. These are normally protected by covers. Do not remove these without specific training. When handling fused silica solvent lines take great care. This is a brittle material with sharp fractures. Use a specific silica cutting tool. Cut resistant gloves can be used for further hand protection. | Low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |