Manchester Institute of Biotechnology  - Risk Assessment Form

| Date: 01/05/11 | Assessed by: Steve Rigby | Validated by: Tanya Aspinall | Location: MIB LG.035 |  | Review date: 01/05/16 |
| --- | --- | --- | --- | --- | --- |
| Task Use of EPR spectrometer (see also use of EPR cryogenic system) |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of EPR spectrometer | Electrical hazard- risk of electric shock | Staff | All users must be trained in the safe use of the EPR spectrometer. No unauthorised use is permitted. Inspection/service panels must not be removed during operation. Cables/leads must not be removed/connected during use. All equipment is annually tested (PA testing). Equipment with out of date, failed or untested labels must not be used until retested. Any obvious danger, sparks/damaged cables must be reported immediately to supervisor, and the equipment must not be used or must be switched off if in use. | low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |