Manchester Institute of Biotechnology  - Risk Assessment Form

| Date: 25/02/15 | Assessed by: Kulveer Singh | Validated by: Christopher Blanford | Location: MIB | Assessment ref no: CFB 01 | Review date: 24/02/16 |
| --- | --- | --- | --- | --- | --- |
| Task Use of electrical equipment (potentiostat) (includes use of electrochemical quartz crystal microbalance and spectroelectrochemical measurements with analogue and digital potentiostats) |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of devices to generate fixed potentials and currents (potentiostats). | Electrical hazard: risk of electric shock with DC voltages up to ~13 V and DC currents ≤ 30 mA. | Individual researcher | During training by supervisor, all users are made aware of potential risks from electric shocks. All users must be instructed in proper wiring of electrochemical cells and how to avoid short circuits. Any obvious danger, sparks/damaged cables are reported immediately to technical staff and the equipment not used or switched off if in use. | low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |
| Kulveer Singh |  |  |  |