Manchester Institute of Biotechnology  - Risk Assessment Form

| Date: 27/02/2015 | Assessed by: Sandra Kennedy | Validated by: Tanya Aspinall | Location: MIB | Review date: 27/02/2018 |
| --- | --- | --- | --- | --- |

Task: Use of electrical tube rotator

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of electrical tube rotator | Trapping of clothing | User, other lab staff | Staff trained by supervisor in safe use of equipment. Loose clothing and hair must be tucked in and or tied back | L | A |
|  | Electricity | User, other lab staff | PA testing is performed annually; regular maintenance; visual test to be conducted prior to every use. | L | A |
|  | Chemical hazard from open tubes | User, other lab staff | User must ensure that all tubes are closed. A COSHH assessment (including information on what to do in case of accident) must be carried out for any of the chemicals used, and must be read and signed before the first use. Any identified control measures must be followed. The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. | L | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |