Manchester Institute of Biotechnology -  Risk Assessment

| Date: 23/01/15 | Assessed by: Nicola Wood | Validated by: Tanya Aspinall | Location: MIB –.042 and 2.047 |  | Review date: 22/01/16 |
| --- | --- | --- | --- | --- | --- |
| Task Agar plate diffusion tests to determine the toxicity of ionic liquids. An aliquot of approx. 5µl of ionic liquid is transferred to a sterile filter disc sealed inside an Eppendorf tube. The tube and contents are weighed before the filter paper disc is transferred to a pre-inoculated spread plate of E. coli MG1655. The inoculated plates are incubated overnight at 37oC. |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of electrical equipment (general). | Electrical hazard- risk of electric shock | Staff | During training by supervisor, all users are made aware of potential risks from electric shocks. All users have attended a basic health and safety course where part of the instruction covers risks from electric shocks and first aid procedures in the event of a shock All equipment is annually tested (PA testing). Equipment with out of date, failed or untested labels are not be used until retested. Any obvious danger, sparks/damaged cables are reported immediately to technical staff and the equipment not used or switched off if in use. | low | A |
| Pipetting and dispensing of solutions | Chemical hazard | Staff | All staff trained by their supervisor or senior lab personnel in the safe method of pipetting and dispensing of solutions. A COSHH assessment (including information on what to do in case of accident) is carried out for all chemicals and is read and signed before the work begins. All identified control measures must be followed. The following items of PPE must be worn: Howie-style laboratory coat and BS EN374 compliant gloves Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. All pipettes checked annually to ensure they are fully functional and correctly calibrated. | low | A |
| Use of solvents/Ionic liquids | Risk of poisoning through inhalation / skin contact | User and other lab personnel | All users trained by their supervisor in the correct handling and use of solvents. COSHH and risk assessments completed so that they are aware of the hazards associated with the material and procedure. The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. A spills kit is available in case of spillage. All work is done in a well ventilated lab, and work with highly volatile solvents is done in a fume cupboard. The MIB has set procedures for the disposal of waste solvents (see MIB Safety File). All users are aware of these procedures. No other method of disposal is used. Users ensure empty containers are safe before disposal. Rinse out bottles and stand in a fume cupboard to remove flammable vapours. Refrigerators used for storage of flammables must be spark-proofed and clearly labelled as such. Solvents are not to be mixed with oxidising agents either in use or in storage. All solvents are transported in carriers designed for the job. No solvents issued from stores unless users have the correct containers. The user is aware of the location of all fire extinguishers in the laboratory and is trained in their use. | low | A |
| Biological Hazard | Risk of infection | Staff and other workers nearby | The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. All projects are risk-assessed and approved by local safety committee. All accidents/spillages are logged and recorded by the Biological Safety Officer. | low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |