Manchester Institute of Biotechnology  - Risk Assessment Form

| Date: 23/01/15 | Assessed by: Victoria Kelly | Validated by: Tanya Aspinall | Location: MIB |  | Review date: 22/01/16 |
| --- | --- | --- | --- | --- | --- |
| Task Use of mercury-containing items (eg. thermometers) Cleaning up a broken mercury thermometer at room temperature |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk Rating | Result |
| --- | --- | --- | --- | --- | --- |
| Broken mercury thermometer | Mercury - Corrosive. Harmful if inhaled and easily absorbed through lungs, skin and alimentary system. Can cause burns Glass – cuts and puncture wounds | User and those in the vicinity | ALL mercury thermometers should be replaced with alcohol ones. Mercury thermometers should be taken to hazardous waste disposal, alcohol ones are available from Stores | Low | A |
| Cleaning up a broken mercury thermometer at room temperature | Chemical hazard -Mercury | All those in the vicinity. Mercury is highly toxic and is capable of being absorbed through the skin, lungs and alimentary system | A mercury spills kit is available outside the MIB Safety and Risk Managers’ office (MIB 2.015). Procedure to be followed (if you are at all unsure or have not cleaned up a mercury spill before contact a senior technician for help). Immediately: Stop the spill of mercury spreading by creating dikes of blue roll Stop all foot traffic in the vicinity of the spill and evacuate the immediate area. Stop further activity in lab until clean-up is complete. While in the area, place overshoes over normal shoes to protect them from contamination. (The overshoes should be removed before leaving the area and disposed of as hazardous waste as they may be contaminated with mercury.) Immediately ventilate the area to provide the highest level of air circulation possible. Next: The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. Remove the larger pieces of glass, use tweezers or a fine brush – place in a suitable container and clearly label it (plastic lunch boxes / glass jars are good) and temporarily store it in the fume hood. Carefully gather as much mercury together as possible by using the straight edge of the scoop provided in the mercury spills kit. Alternatively use a piece of cardboard. (The larger the drops the smaller the surface face area to mass ratio and the lower the evaporation will be). Collect up the mercury using the syringe available in the kit or a small brush / damp paper / adhesive tape. CAUTION – some small glass shards may be present. Place in a clearly labelled sealable plastic. Follow the instructions in the spills kit. Mix equal amounts of Sulphur and Calcium Hydroxide and spread on the spillage area. Work the powder over the spillage area for 2 to 3 minutes, using the scoop transfer the paste to the contaminated waste container. Close the box, dispose of as mercury contaminated hazardous waste. Wash hands thoroughly with soap and water Finally: Complete an incident report form and return to MIB Safety Office | Low | A |
|  | Broken glass | Broken glass can lead to cuts /abrasions if unprotected skin comes into contact | Follow the guidelines above | Low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |