Manchester Institute of Biotechnology -  Risk Assessment

| Date: Jan 2015 | Assessed by: Dr. Tanya Aspinall | Validated by: Tour organiser | Location: MIB |  | Review date: 2016 |
| --- | --- | --- | --- | --- | --- |
| Task Small group, supervised tours of MIB lab areas |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Tour of lab | Chemical/biological hazards in lab areas | Staff and visitors | All visitors/staff will be made aware of the inherent risks associated with entering a research laboratory. All lab areas will be closed for access for the duration of the tours. No experimental work will be performed in the lab areas to be visited (except for designated demonstrations, for which separate risk assessments will be performed), for the duration of the visit. All lab areas will be inspected immediately prior to the tours, with any identified hazards being removed/remedied immediately. All visitors will be informed of any specific risks associated with the lab to be visited, and will be told not to touch any equipment within the lab areas. Visitors to facilities with strong magnets (eg. NMR, EPR facilities) will be warned about the dangers involved. People with cochlear implants, pacemakers, etc will not be permitted to enter these facilities. All visitors will be warned not to approach the machines with metallic items. Tour facilitators must be familiar with the risk assessments for these facilities and know how to respond to an emergency (low oxygen alarm being triggered, magnet quench, etc). All visitors will be accompanied at all times by a competent member of staff. All visitors will be provided with appropriate PPE - visitor lab coats, safety glasses (in designated areas). | low | A |
|  | Slip/Trip hazards – risk of slips, trips and falls | Staff and visitors | Lab to be cleaned regularly by cleaning staff and kept free of obstacles. “sensible” and suitable footwear should be worn in the laboratory. Any problems should be reported immediately to Janet England, for attention by Estates. | low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |