Manchester Institute of Biotechnology – Risk Assessment

| Date: 25/02/15 | Assessed by: Dr. John Hughes | Validated by: Tanya Aspinall | Location: MIB |  | Review date: 24/02/16 |
| --- | --- | --- | --- | --- | --- |
| Task Generic use of Radioisotopes. |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Generic use of Radioisotopes. | radioisotope – risk of exposure / ingestion | Staff | All staff must complete a mandatory training session (run by the University) (or provide evidence of equivalent training) before they can register and use radioactive material. Clear guidelines are set out in the Local Rules (found in the MIB Safety File). They must be read, understood and signed before work can begin. All work must be carried out in the designated radioactive room. All workers must receive lab-based training from their supervisors. The following items of PPE must be worn when working with radioactive material: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. Monitoring equipment (including dosimeters) must be used. Any accidents/incidents must be reported immediately to John Hughes. All radioactive areas are monitored on a weekly basis. There should be regular monitoring of work areas before and after use. Film badges must be worn by individuals using 125I. Users of 32P or substantial amounts of 35S may use badges. All staff must follow the 'ten golden rules' below: Understand the nature of the hazard and get practical training. Plan ahead to minimise time spent handling radioactivity. Distance yourself appropriately from sources of radiation. Use appropriate shielding for the radiation (plexi glass or other, as appropriate) Contain radioactive materials in defined work areas. Wear appropriate protective clothing and dosimeters. Monitor the work area frequently for contamination control. Follow the local rules and safe ways of working. Minimise the accumulation of waste and dispose of it by appropriate routes. After completion of work - monitor yourself, wash and monitor again | medium | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |