Manchester Institute of Biotechnology  - Risk Assessment Form

| Date: 27/02/2015 | Assessed by: Sandra Kennedy | Validated by: Tanya Aspinall | Location: MIB | Review date: 27/02/2018 |
| --- | --- | --- | --- | --- |

Task: Use of hobby rotary blade tool for taking samples from ancient bone samples, blade size less than 5cm diameter

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of rotary blade tool | Risk of cuts | User | Staff trained by supervisor in safe use of equipment. Cut resistant gloves must be worn. | M | A |
|  | Trapping of clothing | User , other lab staff | Staff trained by supervisor in safe use of equipment before use. Loose clothing should be tucked in, hair should be tied back. | L | A |
|  | Getting fragments into eyes | User, other lab staff | Safety glasses to be worn | L | A |
|  | Electricity | User, other lab staff | PA testing to be done annually; regular maintenance, visual test to be conducted prior to every use. | L | A |
|  | Chemical hazard from cleaning of the blade | User, other lab staff | A COSHH assessment (including information on what to do in case of accident) has been carried out for DNA away, and must be read and signed before the first use. All identified control measures must be followed. The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy. | L | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by P

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |