Manchester Institute of Biotechnology -  Risk Assessment

| Date: 29/01/15 | Assessed by: J. William Allwood | Validated by: Tanya Aspinall | Location: 2.0041, LG034, MBCMS (MIB) | Review date: 29/01/16 |
| --- | --- | --- | --- | --- |

Task: Routine maintenance of vacuum rotary pumps by removal of oil and refilling with new oil 1. Switch pump off 2. Leave for minimum of 30 minutes to allow oil to cool 3. Drain oil into labelled waste container (disposed by stores as chemical waste) 4. Refill with new oil

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Changing of oil | Chemical Risk - Silicone based rotary pump oil can cause drying to the skin | Staff and other workers near by | The following items of PPE must be worn: Howie-style laboratory coat, BS EN374 compliant gloves (nitrile) and BS EN166 compliant eye protection (chemical splash proof safety glasses). A selection of safety glasses and goggles are available from MIB Stores; users are advised to visit Stores and select eye protection which fits well and is comfortable to use. Regular lab inspections monitor the wearing of PPE; users found not to be wearing PPE when the risk assessment states that it must be worn will be subject to the MIB compliance policy | Low | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |