Manchester Institute of Biotechnology  - Risk Assessment

| Date: 27/02/15 | Assessed by: Dr Sara J Baldock | Validated by: Tanya Aspinall | Location: First Floor 1.043 |  | Review date: 26/02/16 |
| --- | --- | --- | --- | --- | --- |
| Task Use of Ultrasonic bath for sample preparation |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Ultrasonic bath | Electric shock | Staff and students | Pre-use visual inspection. All electrical equipment is subject to annual PA-testing. Any equipment which is damaged or has an out-of-date PAT sticker must not be used. The equipment must be removed from use until it has been repaired and/or tested. Take care to prevent water ingress to electrical circuitry of the bath. | LOW | A |
|  | Ultrasound (kHZ) | Staff and students | Avoid contact with water during ultrasonication. Always use bath with sufficient water to prevent damage to the bath and reduce noise. | LOW | A |

Authorisation by PI I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated.

Declaration by PI

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |