Manchester Interdisciplinary Biocentre  - Risk Assessment Form

| Date: 26/01/15 | Assessed by: Derren Heyes | Validated by: Tanya Aspinall | Location: MIB 2.055 |  | Review date: 26/01/15 |
| --- | --- | --- | --- | --- | --- |
| Task Use of VP-ITC micro-calorimeter. Measuring binding interactions between different species, such as DNA, RNA or protein. The process requires aliquoting low volumes of samples into the sample well of the machine. |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of VP-ITC micro-calorimeter | Inexperienced user may damage equipment | User | All users must be trained in correct usage of the equipment, including waste disposal, sample handling and decontamination of the equipment after use; training records are maintained | low | A |
|  | Electrical hazard - risk of electric shock | User | All equipment and power supplies are regularly PAT-tested by trained MIB personnel, and are regularly maintained. The machine is on a service contract. An engineer visits to service the machine annually. | low | A |
|  | Biological hazard | User | All samples are small volume (max 500ul), and are placed into the machine in closed sample tubes; this should minimise/eliminate the risk of spillage/contamination of the machine; in case of spillage, 2% virkon will be used to decontaminate the equipment. | low | A |

Authorisation by Facility Manager I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

Declaration by researcher

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

Declaration by Facility Manager

I confirm that the researcher who has signed below is competent to undertake the work. My counter-signature indicates that I am happy for the work to proceed.

| Name (please print) | signed | PI countersignature | date |
| --- | --- | --- | --- |